## Plate Layout
First, load DNA (or blanks) into an extra 96 well plate as shown below: All sample DNA should be diluted to 3.33ng/ul here
96 WELL PLATE: green = ~15ul for 10ul rxns, ~25ul for 25ul rxns; orange = ~6ul for 10ul rxnx, ~9ul for 25ul rxnx. Extra is OK.
Load MM wells with MM that has primers, water & mm in right ratio. Then add 7 or 19ul depeending on rxn volume. One row enough for entire 96 well plate. 2 rows needed for 384 @10ulrxn, or 4 rows for 384 @25ulrxn
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | H2O | Gold | Std1 | Std2 | Std3 | Std4 | Std5 | 1 | 2 | 3 | 4 | 5 |  | A | H2O | Gold | Std1 | Std2 | Std3 | Std4 | Std5 | 1 | 2 | 3 | 4 | 5
| B | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 |  | B | H2O | Gold | Std1 | Std2 | Std3 | Std4 | Std5 | 1 | 2 | 3 | 4 | 5
| C | 18 | 18 | 18 | 19 | 19 | 19 | 20 | 20 | 20 | 21 | 21 | 21 | -> LOAD -> | C | H2O | Gold | Std1 | Std2 | Std3 | Std4 | Std5 | 1 | 2 | 3 | 4 | 5
| D | 22 | 22 | 22 | 23 | 23 | 23 | 24 | 24 | 24 | 25 | 25 | 25 |  | D | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| E | [13 empty] | E | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| F | [13 empty] | F | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| G | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm |  | G | 18 | 18 | 18 | 19 | 19 | 19 | 20 | 20 | 20 | 21 | 21 | 21
| H | [13 empty] | H | 22 | 22 | 22 | 23 | 23 | 23 | 24 | 24 | 24 | 25 | 25 | 25
384 WELL PLATE: Need to pre-load from multiple 96 well plates
PLATE 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | H2O | Gold | Std1 | Std2 | Std3 | Std4 | Std5 | 1 | 2 | 3 | 4 | 5 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| B | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 |  | A | H20 | 6 | Gold | 7 | Std1 | 8 | Std2 | 9 | Std3 | 10 | Std4 | 11 | Std5 | 12 | 1 | 13 | 2 | 14 | 3 | 15 | 4 | 16 | 5 | 17
| C | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 |  | B | H20 | 6 | Gold | 7 | Std1 | 8 | Std2 | 9 | Std3 | 10 | Std4 | 11 | Std5 | 12 | 1 | 13 | 2 | 14 | 3 | 15 | 4 | 16 | 5 | 17
| D | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 |  | C | H20 | 6 | Gold | 7 | Std1 | 8 | Std2 | 9 | Std3 | 10 | Std4 | 11 | Std5 | 12 | 1 | 13 | 2 | 14 | 3 | 15 | 4 | 16 | 5 | 17
| E | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 |  | D | 18 | 30 | 19 | 31 | 20 | 32 | 21 | 33 | 22 | 34 | 23 | 35 | 24 | 36 | 25 | 37 | 26 | 38 | 27 | 39 | 28 | 40 | 29 | 41
| F | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 |  | E | 18 | 30 | 19 | 31 | 20 | 32 | 21 | 33 | 22 | 34 | 23 | 35 | 24 | 36 | 25 | 37 | 26 | 38 | 27 | 39 | 28 | 40 | 29 | 41
| G | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | -> LOAD -> | F | 18 | 30 | 19 | 31 | 20 | 32 | 21 | 33 | 22 | 34 | 23 | 35 | 24 | 36 | 25 | 37 | 26 | 38 | 27 | 39 | 28 | 40 | 29 | 41
| H | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 |  | G | 42 | 54 | 43 | 55 | 44 | 56 | 45 | 57 | 46 | 58 | 47 | 59 | 48 | 60 | 49 | 61 | 50 | 62 | 51 | 63 | 52 | 64 | 53 | 65
[15 empty] | H | 42 | 54 | 43 | 55 | 44 | 56 | 45 | 57 | 46 | 58 | 47 | 59 | 48 | 60 | 49 | 61 | 50 | 62 | 51 | 63 | 52 | 64 | 53 | 65
| PLATE 2 | [13 empty] | I | 42 | 54 | 43 | 55 | 44 | 56 | 45 | 57 | 46 | 58 | 47 | 59 | 48 | 60 | 49 | 61 | 50 | 62 | 51 | 63 | 52 | 64 | 53 | 65
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | J | 66 | 78 | 67 | 79 | 68 | 80 | 69 | 81 | 70 | 82 | 71 | 83 | 72 | 84 | 73 | 85 | 74 | 86 | 75 | 87 | 76 | 88 | 77 | 89
| A | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 |  | K | 66 | 78 | 67 | 79 | 68 | 80 | 69 | 81 | 70 | 82 | 71 | 83 | 72 | 84 | 73 | 85 | 74 | 86 | 75 | 87 | 76 | 88 | 77 | 89
| B | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | -> LOAD -> | L | 66 | 78 | 67 | 79 | 68 | 80 | 69 | 81 | 70 | 82 | 71 | 83 | 72 | 84 | 73 | 85 | 74 | 86 | 75 | 87 | 76 | 88 | 77 | 89
| C | 114 | 114 | 114 | 115 | 115 | 115 | 116 | 116 | 116 | 117 | 117 | 117 |  | M | 90 | 102 | 91 | 103 | 92 | 104 | 93 | 105 | 94 | 106 | 95 | 107 | 96 | 108 | 97 | 109 | 98 | 110 | 99 | 111 | 100 | 112 | 101 | 113
| D | 118 | 118 | 118 | 119 | 119 | 119 | 120 | 120 | 120 | 121 | 121 | 121 |  | N | 90 | 102 | 91 | 103 | 92 | 104 | 93 | 105 | 94 | 106 | 95 | 107 | 96 | 108 | 97 | 199 | 98 | 110 | 99 | 111 | 100 | 112 | 101 | 113
| E | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm |  | O | 90 | 102 | 91 | 103 | 92 | 104 | 93 | 105 | 94 | 106 | 95 | 107 | 96 | 108 | 97 | 109 | 98 | 110 | 99 | 111 | 100 | 112 | 101 | 113
| F | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm |  | P | 114 | 118 | 114 | 118 | 114 | 118 | 115 | 119 | 115 | 119 | 115 | 119 | 116 | 120 | 116 | 120 | 116 | 120 | 117 | 121 | 117 | 121 | 117 | 121
| G | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm
| H | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm | mm
two or four rows of mm needed dependong on rxn volume
384 WELL PLATE: Version 2: Assuming an 8 channel instead of a 12
PLATE 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | H2O | 2 | 10 | 18 | 26 | 34 | 42 | 50 | 58 | 66 | 74 | 82 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| B | Gold | 3 | 11 | 19 | 27 | 35 | 43 | 51 | 59 | 67 | 75 | 83 |  | A | H2O | H2O | H2O | 10 | 10 | 10 | 26 | 26 | 26 | 42 | 42 | 42 | 58 | 58 | 58 | 74 | 74 | 74 | 90 | 90 | 90 | 106 | 106 | 106
| C | Std1 | 4 | 12 | 20 | 28 | 36 | 44 | 52 | 60 | 68 | 76 | 84 |  | B | 2 | 2 | 2 | 18 | 18 | 18 | 34 | 34 | 34 | 50 | 50 | 50 | 66 | 66 | 66 | 82 | 82 | 82 | 98 | 98 | 98 | 114 | 114 | 114
| D | Std2 | 5 | 13 | 21 | 29 | 37 | 45 | 53 | 61 | 69 | 77 | 85 |  | C | Gold | Gold | Gold | 11 | 11 | 11 | 27 | 27 | 27 | 43 | 43 | 43 | 59 | 59 | 59 | 75 | 75 | 75 | 91 | 91 | 91 | 107 | 107 | 107
| E | Std3 | 6 | 14 | 22 | 30 | 38 | 46 | 54 | 62 | 70 | 78 | 86 |  | D | 3 | 3 | 3 | 19 | 19 | 19 | 35 | 35 | 35 | 51 | 51 | 51 | 67 | 67 | 67 | 83 | 83 | 83 | 99 | 99 | 99 | 115 | 115 | 115
| F | Std4 | 7 | 15 | 23 | 31 | 39 | 47 | 55 | 63 | 71 | 79 | 87 |  | E | Std1 | Std1 | Std1 | 12 | 12 | 12 | 28 | 28 | 28 | 44 | 44 | 44 | 60 | 60 | 60 | 76 | 76 | 76 | 92 | 92 | 92 | 108 | 108 | 108
| G | Std5 | 8 | 16 | 24 | 32 | 40 | 48 | 56 | 64 | 72 | 80 | 88 | -> LOAD -> | F | 4 | 4 | 4 | 20 | 20 | 20 | 36 | 36 | 36 | 52 | 52 | 52 | 68 | 68 | 68 | 84 | 84 | 84 | 100 | 100 | 100 | 116 | 116 | 116
| H | 1 | 9 | 17 | 25 | 33 | 41 | 49 | 57 | 65 | 73 | 81 | 89 |  | G | Std2 | Std2 | Std2 | 13 | 13 | 13 | 29 | 29 | 29 | 45 | 45 | 45 | 61 | 61 | 61 | 77 | 77 | 77 | 93 | 93 | 93 | 109 | 109 | 109
[15 empty] | H | 5 | 5 | 5 | 21 | 21 | 21 | 37 | 37 | 37 | 53 | 53 | 53 | 69 | 69 | 69 | 85 | 85 | 85 | 101 | 101 | 101 | 117 | 117 | 117
| PLATE 2 | [13 empty] | I | Std3 | Std3 | Std3 | 14 | 14 | 14 | 30 | 30 | 30 | 46 | 46 | 46 | 62 | 62 | 62 | 78 | 78 | 78 | 94 | 94 | 94 | 110 | 110 | 110
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | J | 6 | 6 | 6 | 22 | 22 | 22 | 38 | 38 | 38 | 54 | 54 | 54 | 70 | 70 | 70 | 86 | 86 | 86 | 102 | 102 | 102 | 118 | 118 | 118
| A | 90 | 98 | 106 | 114 | [9 empty] | K | Std4 | Std4 | Std4 | 15 | 15 | 15 | 31 | 31 | 31 | 47 | 47 | 47 | 63 | 63 | 63 | 79 | 79 | 79 | 95 | 95 | 95 | 111 | 111 | 111
| B | 91 | 99 | 107 | 115 | [8 empty] | -> LOAD -> | L | 7 | 7 | 7 | 23 | 23 | 23 | 39 | 39 | 39 | 55 | 55 | 55 | 71 | 71 | 71 | 87 | 87 | 87 | 103 | 103 | 103 | 119 | 119 | 119
| C | 92 | 100 | 108 | 116 | [9 empty] | M | Std5 | Std5 | Std5 | 16 | 16 | 16 | 32 | 32 | 32 | 48 | 48 | 48 | 64 | 64 | 64 | 80 | 80 | 80 | 96 | 96 | 96 | 112 | 112 | 112
| D | 93 | 101 | 109 | 117 | [9 empty] | N | 8 | 8 | 8 | 24 | 24 | 24 | 40 | 40 | 40 | 56 | 56 | 56 | 72 | 72 | 72 | 88 | 88 | 88 | 104 | 104 | 104 | 120 | 120 | 120
| E | 94 | 102 | 110 | 118 | [9 empty] | O | 1 | 1 | 1 | 17 | 17 | 17 | 33 | 33 | 33 | 49 | 49 | 49 | 65 | 65 | 65 | 81 | 81 | 81 | 97 | 97 | 97 | 113 | 113 | 113
| F | 95 | 103 | 111 | 119 | [9 empty] | P | 9 | 9 | 9 | 25 | 25 | 25 | 41 | 41 | 41 | 57 | 57 | 57 | 73 | 73 | 73 | 89 | 89 | 89 | 105 | 105 | 105 | 121 | 121 | 121
| G | 96 | 104 | 112 | 120
| H | 97 | 105 | 113 | 121
two or four rows of mm needed dependong on rxn volume

## Dilute samples
plate_sam_num | sample_id | nano_conc | target_conc | target_volume | target_dna | add_stock | add_h2o
1 |  | 5 | 3.3333 | 100 | 333.3333 | 66.6667 | 33.3333 | Fill sample info and nanodrop (or qubit) quantification for each sample here. Low concentration samples are mixed at smaller total volumes and high concentration samples are mixed at higher total volumes. Those can also be adjusted manually.
2 |  | 10 | 3.3333 | 100 | 333.3333 | 33.3333 | 66.6667
3 |  | 15 | 3.3333 | 100 | 333.3333 | 22.2222 | 77.7778
4 |  | 20 | 3.3333 | 100 | 333.3333 | 16.6667 | 83.3333
5 |  | 25 | 3.3333 | 200 | 666.6667 | 26.6667 | 173.3333
6 |  | 30 | 3.3333 | 200 | 666.6667 | 22.2222 | 177.7778
7 |  | 35 | 3.3333 | 200 | 666.6667 | 19.0476 | 180.9524
8 |  | 40 | 3.3333 | 200 | 666.6667 | 16.6667 | 183.3333
9 |  | 45 | 3.3333 | 200 | 666.6667 | 14.8148 | 185.1852
10 |  | 50 | 3.3333 | 200 | 666.6667 | 13.3333 | 186.6667
11 |  | 55 | 3.3333 | 200 | 666.6667 | 12.1212 | 187.8788
12 |  | 60 | 3.3333 | 200 | 666.6667 | 11.1111 | 188.8889
13 |  | 65 | 3.3333 | 200 | 666.6667 | 10.2564 | 189.7436
14 |  | 70 | 3.3333 | 200 | 666.6667 | 9.5238 | 190.4762
15 |  | 75 | 3.3333 | 500 | 1666.6667 | 22.2222 | 477.7778
16 |  | 80 | 3.3333 | 500 | 1666.6667 | 20.8333 | 479.1667
17 |  | 85 | 3.3333 | 500 | 1666.6667 | 19.6078 | 480.3922
18 |  | 90 | 3.3333 | 500 | 1666.6667 | 18.5185 | 481.4815
19 |  | 95 | 3.3333 | 500 | 1666.6667 | 17.5439 | 482.4561
20 |  | 100 | 3.3333 | 500 | 1666.6667 | 16.6667 | 483.3333
21 |  | 105 | 3.3333 | 500 | 1666.6667 | 15.873 | 484.127
22 |  | 110 | 3.3333 | 500 | 1666.6667 | 15.1515 | 484.8485
23 |  | 115 | 3.3333 | 500 | 1666.6667 | 14.4928 | 485.5072
24 |  | 120 | 3.3333 | 500 | 1666.6667 | 13.8889 | 486.1111
25 |  | 125 | 3.3333 | 500 | 1666.6667 | 13.3333 | 486.6667
26 |  | 130 | 3.3333 | 500 | 1666.6667 | 12.8205 | 487.1795
27 |  | 135 | 3.3333 | 500 | 1666.6667 | 12.3457 | 487.6543
28 |  | 140 | 3.3333 | 500 | 1666.6667 | 11.9048 | 488.0952
29 |  | 145 | 3.3333 | 500 | 1666.6667 | 11.4943 | 488.5057
30 |  | 150 | 3.3333 | 500 | 1666.6667 | 11.1111 | 488.8889
31 |  | 155 | 3.3333 | 1000 | 3333.3333 | 21.5054 | 978.4946
32 |  | 160 | 3.3333 | 1000 | 3333.3333 | 20.8333 | 979.1667
33 |  | 165 | 3.3333 | 1000 | 3333.3333 | 20.202 | 979.798
34 |  | 170 | 3.3333 | 1000 | 3333.3333 | 19.6078 | 980.3922
35 |  | 175 | 3.3333 | 1000 | 3333.3333 | 19.0476 | 980.9524
36 |  | 180 | 3.3333 | 1000 | 3333.3333 | 18.5185 | 981.4815
37 |  | 185 | 3.3333 | 1000 | 3333.3333 | 18.018 | 981.982
38 |  | 190 | 3.3333 | 1000 | 3333.3333 | 17.5439 | 982.4561
39 |  | 195 | 3.3333 | 1000 | 3333.3333 | 17.094 | 982.906
40 |  | 200 | 3.3333 | 1000 | 3333.3333 | 16.6667 | 983.3333
41 |  | 205 | 3.3333 | 1000 | 3333.3333 | 16.2602 | 983.7398
42 |  | 210 | 3.3333 | 1000 | 3333.3333 | 15.873 | 984.127
43 |  | 215 | 3.3333 | 1000 | 3333.3333 | 15.5039 | 984.4961
44 |  | 220 | 3.3333 | 1000 | 3333.3333 | 15.1515 | 984.8485
45 |  | 225 | 3.3333 | 1000 | 3333.3333 | 14.8148 | 985.1852
46 |  | 230 | 3.3333 | 1000 | 3333.3333 | 14.4928 | 985.5072
47 |  | 235 | 3.3333 | 1000 | 3333.3333 | 14.1844 | 985.8156
48 |  | 240 | 3.3333 | 1000 | 3333.3333 | 13.8889 | 986.1111
49 |  | 245 | 3.3333 | 1000 | 3333.3333 | 13.6054 | 986.3946
50 |  | 250 | 3.3333 | 1000 | 3333.3333 | 13.3333 | 986.6667
51 |  | 255 | 3.3333 | 1000 | 3333.3333 | 13.0719 | 986.9281
52 |  | 260 | 3.3333 | 1000 | 3333.3333 | 12.8205 | 987.1795
53 |  | 265 | 3.3333 | 1000 | 3333.3333 | 12.5786 | 987.4214
54 |  | 270 | 3.3333 | 1000 | 3333.3333 | 12.3457 | 987.6543
55 |  | 275 | 3.3333 | 1000 | 3333.3333 | 12.1212 | 987.8788
56 |  | 280 | 3.3333 | 1000 | 3333.3333 | 11.9048 | 988.0952
57 |  | 285 | 3.3333 | 1000 | 3333.3333 | 11.6959 | 988.3041
58 |  | 290 | 3.3333 | 1000 | 3333.3333 | 11.4943 | 988.5057
59 |  | 295 | 3.3333 | 1000 | 3333.3333 | 11.2994 | 988.7006
60 |  | 300 | 3.3333 | 1000 | 3333.3333 | 11.1111 | 988.8889
61 |  | 305 | 3.3333 | 1000 | 3333.3333 | 10.929 | 989.071
62 |  | 310 | 3.3333 | 1000 | 3333.3333 | 10.7527 | 989.2473
63 |  | 315 | 3.3333 | 1000 | 3333.3333 | 10.582 | 989.418
64 |  | 320 | 3.3333 | 1000 | 3333.3333 | 10.4167 | 989.5833
65 |  | 325 | 3.3333 | 1000 | 3333.3333 | 10.2564 | 989.7436
66 |  | 330 | 3.3333 | 1000 | 3333.3333 | 10.101 | 989.899
67 |  | 335 | 3.3333 | 1000 | 3333.3333 | 9.9502 | 990.0498
68 |  | 340 | 3.3333 | 1000 | 3333.3333 | 9.8039 | 990.1961
69 |  | 345 | 3.3333 | 1000 | 3333.3333 | 9.6618 | 990.3382
70 |  | 350 | 3.3333 | 1000 | 3333.3333 | 9.5238 | 990.4762
71 |  | 355 | 3.3333 | 1000 | 3333.3333 | 9.3897 | 990.6103
72 |  | 360 | 3.3333 | 1000 | 3333.3333 | 9.2593 | 990.7407
73 |  | 365 | 3.3333 | 1000 | 3333.3333 | 9.1324 | 990.8676
74 |  | 370 | 3.3333 | 1000 | 3333.3333 | 9.009 | 990.991
75 |  | 375 | 3.3333 | 1000 | 3333.3333 | 8.8889 | 991.1111
76 |  | 380 | 3.3333 | 1000 | 3333.3333 | 8.7719 | 991.2281
77 |  | 385 | 3.3333 | 1000 | 3333.3333 | 8.658 | 991.342
78 |  | 390 | 3.3333 | 1000 | 3333.3333 | 8.547 | 991.453
79 |  | 395 | 3.3333 | 1000 | 3333.3333 | 8.4388 | 991.5612
80 |  | 400 | 3.3333 | 1000 | 3333.3333 | 8.3333 | 991.6667
81 |  | 405 | 3.3333 | 1000 | 3333.3333 | 8.2305 | 991.7695
82 |  | 410 | 3.3333 | 1000 | 3333.3333 | 8.1301 | 991.8699
83 |  | 415 | 3.3333 | 1000 | 3333.3333 | 8.0321 | 991.9679
84 |  | 420 | 3.3333 | 1000 | 3333.3333 | 7.9365 | 992.0635
85 |  | 425 | 3.3333 | 1000 | 3333.3333 | 7.8431 | 992.1569
86 |  | 430 | 3.3333 | 1000 | 3333.3333 | 7.7519 | 992.2481
87 |  | 435 | 3.3333 | 1000 | 3333.3333 | 7.6628 | 992.3372
88 |  | 440 | 3.3333 | 1000 | 3333.3333 | 7.5758 | 992.4242
89 |  | 445 | 3.3333 | 1000 | 3333.3333 | 7.4906 | 992.5094
90 |  | 450 | 3.3333 | 1000 | 3333.3333 | 7.4074 | 992.5926
91 |  | 455 | 3.3333 | 1000 | 3333.3333 | 7.326 | 992.674
92 |  | 460 | 3.3333 | 1000 | 3333.3333 | 7.2464 | 992.7536
93 |  | 465 | 3.3333 | 1000 | 3333.3333 | 7.1685 | 992.8315
94 |  | 470 | 3.3333 | 1000 | 3333.3333 | 7.0922 | 992.9078
95 |  | 475 | 3.3333 | 1000 | 3333.3333 | 7.0175 | 992.9825
96 |  | 480 | 3.3333 | 1000 | 3333.3333 | 6.9444 | 993.0556
97 |  | 485 | 3.3333 | 1000 | 3333.3333 | 6.8729 | 993.1271
98 |  | 490 | 3.3333 | 1000 | 3333.3333 | 6.8027 | 993.1973
99 |  | 495 | 3.3333 | 1000 | 3333.3333 | 6.734 | 993.266
100 |  | 500 | 3.3333 | 1000 | 3333.3333 | 6.6667 | 993.3333
101 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
102 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
103 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
104 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
105 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
106 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
107 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
108 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
109 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
110 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
111 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
112 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
113 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
114 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
115 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
116 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
117 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
118 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
119 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
120 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!
121 |  |  | 3.3333 | 100 | 333.3333 | #DIV/0! | #DIV/0!

## Master mix calculation
Reagents | 10 ul rxn | 384-well plate (ul) | *1.1 (ul)
Water | 1.96 | 752.64 | 827.904
SYBR green | 5 | 1920 | 2112
F primer (100X) | 0.02 | 7.68 | 8.448
R primer (100X) | 0.02 | 7.68 | 8.448
Sum | 7
DNA | 3
Reagents | 25 ul rxn | 384-well plate (ul) | *1.1 (ul)
Water | 4.9 | 1881.6 | 2069.76
SYBR green | 12.5 | 4800 | 5280
F primer (100X) | 0.05 | 19.2 | 21.12
R primer (100X) | 0.05 | 19.2 | 21.12
Sum | 17.5 |  | 7392
DNA | 7.5
25